## Slide 1: High-Throughput Screening and the HTS Facility
Chen Zhang
HTSF Director

## Slide 2: What is HTS?
Wanted: Antagonist/ binder/ inhibitor/ antibody/etc., for your macromolecule of interest
Problem: No known molecule; Not enough information for rational design; de novo design not successful
Solution: Use robotic system to screen large collections of compound/ siRNA/ peptide/ antibody libraries to identify hits
Notes: To develop potential drug for diseases, or study biological mechanisms, people want to find.

## Slide 3: HTS Applications
Enzymes
Micro RNAs
DNA/RNA-protein interaction
Protein-protein interaction
Receptor-ligand binding
Bacteria/ mammalian cell growth, gene expression
Cell differentiation and signaling pathway

## Slide 4: HTS in Drug Discovery

## Slide 6
HTSF can help with all aspects of:
- Assay development/optimization
- High-throughput screening
- Data analysis/interpretation
Secondary experiments
Follow-up assays
“Free” consultation to initiate new projects
- On campus, external academic and industrial users
HTS Facility

## Slide 7: Assay Design and Optimization
Appropriate controls
Sufficient assay quality
Compatible with the robotic system instrumentation
Stability and reproducibility
Reagent costs

## Slide 8: Plate Readers: Analyst HT
Luminescence
Fluorescence
Positive Controls
Negative Controls
Potential Hits

## Slide 9: Plate Readers: Cytation 5
Temperature/CO2 controlled
Automated long term detection provided by BioSpa incubator

## Slide 10: Plate Reader
Monochromator and filter based
Absorbance (230 - 999 nm, 1 nm increment)
Fluorescence intensity (250 - 700 nm)
Spectrum Scan
Fluorescence polarization (anisotropy)
Fluorescence resonance energy transfer (FRET)
Time-resolved fluorescence (TR) and TR-FRET
Luminescence
Bioluminescence resonance energy transfer (BRET)
Alpha Screen and AlphaLISA
Convenient 16 sample direct protein/DNA/RNA measure (only 2 ul needed)
Dual reagent injection (5-1000 µL) for fast kinetics
Temperature and CO2 control
Equipped with plate stacker for batch process

## Slide 11: Imaging Reader
Bright field, phase contrast, fluorescence imaging
Objectives: 4X, 10X, 20X, 40X
Z-stacking, montage, time-lapse
Filters: DAPI, CFP, GFP, YFP, RFP, Texas Red, CY5, CFP-YFP FRET, Acridine Orange, Propidium Iodide (up to 4 at a time)
Laser autofocus (fast and less photo-bleaching), image-based autofocus
Dual injectors for fast kinetics imaging such as calcium efflux
6-1536 well plates, slides, petri-dish, other vessels possible with adaptor
Temperature and CO2 control for live imaging
Automated long term imaging (ex. Image every hour for 3 days)
User-friendly image processing and data analysis software

## Slide 12: Image-based Detection
Images Source From BioTek

## Slide 13: Sample Images
Bacterial colonies size
van de Donk Lab in Chemistry
Cell stained with multiple antibodies
Underhill lab in Bioengineering

## Slide 14: Screening can be done in collaboration with other facilities
MNR
MS
Surface Plasmon Resonance (SPR)
Flow-cytometry
DNA-encoded library (sequencing)
CRISPR-based library (target identification or mechanism of action)

## Slide 15
Compound Libraries
Compound collections (~278,000 total):
ChemBridge Diversity ~150,000 compounds
ChemDiv Diversity ~100,000 compounds
National Cancer Institute ~10,000 compounds
Marvel Library ~10,000 compounds
HTSF House Library ~8,000 compounds
> 850
384-well plates

## Slide 16
Liquid Handling
Add reagents to whole plates
Transfer compounds from stock plates to assay plates
PlateMatePlus
PinTransferTool
96/384 Tips

## Slide 17
Liquid Handling
Serial dilution
Transfer from/ into individual well

## Slide 18
Liquid Handling in BSC
Bio-Safety Cabinet
Small Sterile Liquid Dispenser

## Slide 19
Automation Equipment
Plate Washer
Plate Sealer
ELISA assay or fixed cells wash

## Slide 20
Data Analysis & Hits Selection
Hits Validation
Secondary Assay Validation
Potency/ Specificity
Mechanism of Action (MOA)
Structure Activity Relationship (SAR)
Screen Follow-ups

## Slide 21
What can you do for the HTSF
Compound Submission:
Submit your compounds to the HTSF House library
Compounds will be added to screening plates
Compounds screened in numerous assays
Compounds could provide valuable research tool or new drug
Structure | University | Name | Lab | Phone Number | Email | Compound Name | Notebook number | Notebook page number | Submitted as | weight (mg) | MW
 | UIUC | Chen Zhang | HTSF | 244-4198 | czhang8@illinois.edu | PAC-1 | 1 | 192 | 10 mM DMSO stock | 120 uL | 384.41
 | UIUC | Chen Zhang | HTSF | 244-4198 | czhang8@illinois.edu | BHPI | 1 | 195 | neat | 5.8 | 285.32

## Slide 22: Contact Info
www.scs.illinois.edu/htsf
https://scs.illinois.edu/resources/cores-scs-service-facilities/high-throughput-screening-facility
Chen Zhang
Lab: 361 Noyes Lab
Office: 363 Noyes Lab
217-244-4198
czhang8@illinois.edu