## Slide 1: SCS Mass Spectrometry Laboratory
Contact Information
  31 Noyes Laboratory (8:00-5:00 M-F)
  217-333-2545
  https://scs.illinois.edu/resources/cores-scs-service-facilities/mass-spectrometry-lab
  Furong Sun (frs@illinois.edu)
Staff
Furong Sun, Director
Haijun Yao, Spectrometrist
XiuLi Mao, Spectrometrist

## Slide 2: Instrumentation and ionization techniques
Submitted Samples
Waters 70-VSE Double focusing Sector (2) (EI/CI, FAB)
Water GCT Premier (EI, CI, FD, FI, LIFDI and GCMS)
Waters Q-TOF Ultima (HR ESI, LCMS)
Waters Synapt G2Si Q-TOF (2) (HR ESI, LCMS, AP-GC and ion mobility)
Self-Service or Submitted Samples
Waters Quattro Ultima Triple Quadrupole (LR ESI, LCMS, MRM)
Waters ZMD Single Quadrupole (LR ESI)
Bruker Autoflex Speed (MALDI)
Bruker Daltonics UltrafleXtreme TOF/TOF (MALDI, TLC, MS imaging)

## Slide 3: We can offer following services
Low and High resolution ESI, FD/FI and EI/CI
LR APCI, FD/FI, MALDI and LIFDI
TLC MALDI
MALDI imaging
Ion Mobility
GC/MS
LC/MS and LCMS/MS (MRM, SIR, DDA, MSe)
Small molecule identification and quantification by LCMS and GCMS

## Slide 4: SCS Mass Spectrometry Laboratory
70-VSE
These instruments are used for EI/CI, FD/FI, FAB and GC/MS.
Waters GCT

## Slide 5: SCS Mass Spectrometry Laboratory
Q-Tof - HR ESI, LCMS
Quattro Ultima – ESI/APCI
ZMD - LR ESI
These instruments are used for LR and HR ESI and LCMS.
Synapt – HR ESI, APGC
Orbitrap – ESI, DESI

## Slide 6: SCS Mass Spectrometry Laboratory
Bruker Daltonics
Autoflex Speed
MALDI
Bruker Daltonics UltrafleXtreme MALDI TOF-TOF

## Slide 7: Mass Spectrometry for small molecules
Molecular Weight
    From molecular ion
      M+ or (M+H)+ [also (M+Na)+ or (M+K)+]
Structure
    From fragments
      Hard ionization
      MS/MS
Elemental Composition
    From exact mass

## Slide 8: Mass Spectrometry for biomolecules
Molecular weight determination, structure information
  For example - Protein, peptides, DNA/RNA, Carbohydrates, Oligonucleotides, Oligosaccharide, Lipids, Natural products, Dendrimers, Porphyrins, Metalloporphyrins
Identification, sequence and modifications
  For example - Protein, peptides, DNA/RNA, Carbohydrates, Oligonucleotides, Oligosaccharide, Lipids, Natural products

## Slide 9: Parts of a Mass Spectrometer
Inlet
Source
Analyzer
Detector
EI
CI
FI
FD
MALDI
ESI
APCI
APPI
Probe
Leak Valve
Syringe
Plate
GC
LC
Sector
Quadrupole
TOF
Ion trap
Orbitrap
Hybrid
Electron Multiplier
Photomultiplier
Array Detector
MCP

## Slide 10
Features of Electrospray MS
Soft ionization – ions are produced in solution
It can be used for small and large molecules
Multiple charged ions are usually produced for large molecules
Suitable for using as an interface with HPLC
Fast data acquisition
High sensitivity, superior mass resolution and accuracy
Sample must be soluble and stable in
solution, polar relative clean

## Slide 11
Features of MALDI-TOF MS
Soft ionization - analyze intact biomolecules and synthetic polymers
Broad mass range - analyze a wide variety of biomolecules
Simple mixtures are okay
Relatively tolerant of buffers and salts
Fast data acquisition
Easy to use and maintain, no water or
gas hook ups required
High sensitivity, superior mass
resolution and accuracy

## Slide 12: Ionization Technique Summary
Ionization | Volatile | Thermal | Size of molecules | Amount | Examples
EI | Yes | Stable | Small | 1-2 mg | Organics
CI | Yes | Stable | Small | 1-2 mg | Organics
FI | Yes | Stable | Small | 1-2 mg | Organics
FD | No | Labile | Medium | 1-2 mg | Non-polar organics, organometallics, porphyrins, PAHs
MALDI | No | Labile | Large | 250fmol-500pmol | Peptides, proteins, DNA/RNA, polymers, dendrimers, fullerenes
ESI | No | Labile | Large | 1-300pmol/mL | Polar/ionic organics, peptides, proteins, biomolecules, organometallics, polymers

## Slide 13
Flowchart of Mass Spectrometry Techniques
To print - use the landscape setting.

## Slide 14: LCMS
Chromatogram
Mass Spectra

## Slide 15: LC Tandem Mass Spectrometry (LCMSMS)
Chromatogram
Mass Spectra

## Slide 16: LCMS Data Dependent Analysis (DDA)
Chromatogram
MS and MS2

## Slide 17: TWIM (Traveling Wave ion mobility) Separates mixture of ions by their shape, size and charge status

## Slide 18: Thank You