## Slide 1: The NMR Lab at the School of Chemical Sciences University of Illinois
Dean Olson
Director
Andre Sutrisno
Solids NMR
Nikki Duay
Technical Assistant
Lingyang Zhu
Liquids NMR
Pre-Pandemic SCS Holiday Party – Dec. 2019

## Slide 2
55 Noyes
55 Noyes
Nikki Duay – Technical Assistant since April 2018
Dean Olson – Director since December 2010
Lingyang Zhu – Liquids NMR since November 2011
Andre Sutrisno – Solid State NMR since June 2014

## Slide 3: The NMR Lab at the School of Chemical Sciences University of Illinois
Nikki … Nikki … Nikki

## Slide 4: The NMR Lab at the School of Chemical Sciences University of Illinois
Since May 2019

## Slide 5: The NMR Lab at the School of Chemical Sciences University of Illinois
Since May 2019

## Slide 6: Solution State NMR Spectrometers
500 MHz: Nalorac QUAD probes
H/F, C/P w PFG Z probe
H/F, C/P probe
500 MHz: Varian HCN PFG Z probe
NMR Lab Overview
600 MHz: AutoX BB and HCN probes
55 Noyes
146 RAL
400 MHz:
Nalorac QUAD probes (H/F, C/P or B/P)
500 MHz: CB500
CryoProbe with 45 Nuclei
Notes: 2- 400 MHz spectrometers equipped with Nalorac QUAD probes in the configuration of H/F and C/P or P/B detection; a 600 MHz spectrometer with an AutoX BB probe and readily switched in HCN PFG XYZ probe and 3- 500 MHz spectrometers, two of which are equipped with Nalorac QUAD probes and one which uses primarily a Varian HCN PFG Z probe for indirect detection work.

## Slide 7: Solid State NMR Spectrometers
300 MHz WB Solids:
Chemagnetics probes
4 mm / 7.5 mm HX MAS
NMR Lab Overview
55 Noyes
See Andre Sutrisno
Notes: I would like to move on to a discussion related to my current position at UIUC by beginning with an overview of our facility. My primary job is to oversee and maintain the solid-state NMR spectrometers. We currently have 3 operational spectrometers, a 300 Mhz WB, a 500 MHz WB and a 750 MHz WB. The 750 MHz WB is our newest addition and is equipped with a 5-channel VNMRS console and a variety of prototype solids probes. The 500 WB was just upgraded to the VNMRS console last year and our 300 Unity Inova WB is both liquids and solids compatible.

## Slide 8: Solution/Solid State 750-MHz NB NMR Spectrometer
750NB:
5mm 1H{13C/15N} PFG probe
10mm 15N-31P BB probe
10mm 73Ge-15N BB probe
3mm 13C{1H} probe
4mm 15N-31P CPMAS Probe
NMR Lab Overview
A151 CLSL
See Lingyang for liquids NMR
See Andre for ssNMR
But wait - there’s more …

## Slide 9: New 600-MHz Solution State NMR Spectrometer
NMR Lab Overview
No Automation (yet):
Manual Sample Entry
Cost = $1.3 M
Bruker 600 MHz: B600
Prodigy CryoProbe
LN2 - Based
Enter via
A149 CLSL
https://scs.illinois.edu/resources/cores-scs-service-facilities/nmr-lab/instrument-information/b600-bruker-neo-nmr
Notes: 2- 400 MHz spectrometers equipped with Nalorac QUAD probes in the configuration of H/F and C/P or P/B detection; a 600 MHz spectrometer with an AutoX BB probe and readily switched in HCN PFG XYZ probe and 3- 500 MHz spectrometers, two of which are equipped with Nalorac QUAD probes and one which uses primarily a Varian HCN PFG Z probe for indirect detection work.

## Slide 10: New 600-MHz Solution State NMR Spectrometer
NMR Lab Overview
Bruker 600 MHz: B600
Prodigy CryoProbe
LN2 - Based
Later:
Another Probe
In-the-Tube Mixing
Enter via
A149 CLSL
Unique Capabilities:
About 2-3-fold higher sensitivity than a
non-CryoProbe 600.
C-13 acquisition with standard proton decoupling.
C-13 acquisition with F-19 decoupling.
C-13 acquisition with deuterium decoupling.
C-13 acquisition with simultaneous decoupling of
proton and deuterium.
Use:
Some walk-up
Some specialty use
Notes: 2- 400 MHz spectrometers equipped with Nalorac QUAD probes in the configuration of H/F and C/P or P/B detection; a 600 MHz spectrometer with an AutoX BB probe and readily switched in HCN PFG XYZ probe and 3- 500 MHz spectrometers, two of which are equipped with Nalorac QUAD probes and one which uses primarily a Varian HCN PFG Z probe for indirect detection work.

## Slide 11: New 600-MHz Solution State NMR Spectrometer
NMR Lab Overview
Bruker 600 MHz: B600
Prodigy CryoProbe
LN2–based electronics cooling
90 NMR
Experiments
Special Decoupling
Capabilities
Notes: 2- 400 MHz spectrometers equipped with Nalorac QUAD probes in the configuration of H/F and C/P or P/B detection; a 600 MHz spectrometer with an AutoX BB probe and readily switched in HCN PFG XYZ probe and 3- 500 MHz spectrometers, two of which are equipped with Nalorac QUAD probes and one which uses primarily a Varian HCN PFG Z probe for indirect detection work.

## Slide 12
NMR Lab Overview
Notes: You can find all the information about the instruments, training manual, useful handouts, and scheduling and contact information etc. at the SCS NMR website. I hope you booked mark it and in your favorites on your computer for easy access.

## Slide 13: SCS NMR Blog

## Slide 14: SCS NMR CB500 or B600 Status

## Slide 15: NMR Training
Study and exercises;
Training by Liaison
Director e-mails 28 items:
NMR principles, Mnova, i.p. address, etc.
Check-Out by
Director
Temperature Control
(VT) Training
by Director
UI500NB Training
by Director
(2D-NMR Prep)
Special 1D,
2D/3D-NMR Training
by Lingyang
Required for UI600 and 750NB
One key 2D document:
UI500NB Advanced 1D and 2D NMR
pw90 calibration
T1 calibration
Solvent suppression
Gateway to UI600 and 750NB with Lingyang
Get a booklet
and see Nikki
for paperwork
& ChemFOM
Solid State NMR Training
by the Solids Spectroscopist
Gateway Instrument

## Slide 16: Common Problems
NMR Lab Overview
From an MIT web document
- in the training booklet

## Slide 17: Common Problems - getting this backwards
NMR Lab Overview
Best if Lower
Best if Higher

## Slide 18
A Few Under-Appreciated NMR
Data Processing Shortcuts
p7 references the chloroform 1H residual signal to 7.26 ppm (select peak first)
p77 references the chloroform 13C residual signal to 77.0 ppm (select peak first)
diff displays difference between 2 cursors in Hz (r1 = Hz)
nl vsadjcr adjusts selected peak to be the maximum on y scale
In the training booklet
Some easier on Mnova

## Slide 19: Bruker NMR - 500 MHz Classic CryoProbe
NMR Lab Overview
Funding from the
Carver Charitable
Trust: $500 K
Total Purchase
Price: $895 K
Today: $1.20 M
Since July 2016
Carver Bruker 500:
CB500

## Slide 20: Bruker NMR - 500 MHz Classic CryoProbe
NMR Lab Overview
Since July 2016: LHe-based electronics cooling
Carver Bruker 500:
CB500

## Slide 21: Bruker NMR - 600 MHz Prodigy CryoProbe
NMR Lab Overview
LN2-based electronics cooling; more versatile

## Slide 22
Why Visit the NMR Lab?
“I wish I had done more NMR sooner.”
- Quote from a 6th year grad student