## Slide 1: ESCO Project 5 – Lab Building Upgrades
Josh Whitson (UIUC - F&S), Ty Miller (Schneider Electric), John Randtke(Schneider Electric), Darrell Demoss (Schneider Electric), Josh Kramer (Schneider Electric)
October 17, 2018
Notes: Give agenda while on cover slide

## Slide 2: Agenda What is Energy Performance Contracting? History at UIUC Project Overview Program Results Range of Scope Laboratory Project Goals Schneider Electric Introduction Project Approach
Notes: Give agenda while on cover slide

## Slide 3: Energy Performance Contracting (EPC)
What is an EPC
  Type of design/build project with a performance guarantee
  Turnkey service
    Audit + engineering + construction + commissioning + O&M + long-term savings measurement/guarantee
  Delivers comprehensive utility savings
  Project risk transferred to Energy Services Company (ESCO)
  Project savings are used to pay project costs
    20 Year Payback Maximum
Project Delivery Benefits
  Guaranteed Energy Savings
  Aligned Goals
  Guaranteed Maximum Price
  Contract Structure / Single Point of Contact
  Bidding Process
Owner
Energy Service Company
Subcontractors

## Slide 4: Energy Performance Contracting (EPC)
Process
  Original RFP
  8 Prequalified ESCOs
  Identify Potential Project
  Competitive Selection Process
  Investment Grade Audit
  Energy Services Agreement
RFP Phase 1
2009
2010
2011
2012
2013
2014
2015
2016
2017
2018
Oak Street Chiller Plant EPC #2 Project Begins
January
May
Vet Med EPC #1 & Oak Street Chiller Plant EPC #2 Projects Complete
April
College of Engineering EPC #3 Project Begins
February
Abbott Power Plant EPC #4 Project Begins
June
Laboratory EPC #5 Project Begins
January
March
UIC EPC Project
Vet Med EPC #1 Project Begins
October
Abbott Power Plant EPC #4 Project Complete
June
Total Contracted to Date: $75M
Completed/Active Projects
  College of Veterinary Medicine
  Oak Street Chiller Plant
  College of Engineering (5 Buildings)
  Abbott Power Plant

## Slide 5: Energy Performance Contracting (EPC)
Program Results
  Annual Dollar Reduction: Approximately $5M
  Total Dollar Reduction to Date: Approximately $18M
  Estimated Deferred Maintenance Backlog Reduction to Date: Approximately $40M
Chart: Vet Med: Actual vs Projected Cost
| FY2009 | FY2010 | FY2011 | FY2012 | FY2013 | FY2014 | FY2015 | FY2016 | FY2017 | FY2018
Actual Cost | 3400000 | 3250000 | 3550000 | 3150000 | 2725000 | 2400000 | 2500000 | 2615000 | 2665000 | 2780000
Projected Cost | 3400000 | 3250000 | 3550000 | 3457541.7904 | 3502480.6846 | 3451029.1194 | 3579900.8479 | 3864115.815 | 3722724.0898 | 3745000
Construction
Construction
Construction
1
2
3
4
5

## Slide 6: Energy Performance Contracting (EPC)
Program Results
  Annual Dollar Reduction: Approximately $5M
  Total Dollar Reduction to Date: Approximately $18M
  Estimated Deferred Maintenance Backlog Reduction to Date: Approximately $40M
Chart: College of Engineering (5 Buildings): Actual vs Projected Cost
| FY2012 | FY2013 | FY2014 | FY2015 | FY2016 | FY2017 | FY2018 | FY2019 (Projected) | FY2020 (Projected) | FY2021 (Projected)
Actual Cost | 5200000 | 5200000 | 5260000 | 5520000 | 5520000 | 5460000 | 4150000 | 4280000 | 4410000 | 4540000
Projected Cost | 5200000 | 5200000 | 5260000 | 5520000 | 5520000 | 5607134.6169 | 5584265.1175 | 5756530.3807 | 5934816.9867 | 6120000
Construction
1
2
3
Construction
Construction

## Slide 7: Energy Performance Contracting (EPC)
Program Results
  Annual Dollar Reduction: Approximately $5M
  Total Dollar Reduction to Date: Approximately $18M
  Estimated Deferred Maintenance Backlog Reduction to Date: Approximately $40M
Range of Scope
  AHU Replacement
  New BAS Controls
  Energy Recovery Strategies
  Large Tonnage Chiller Installation
  Roof Replacements
  Clean Room Installation
  Laboratory Controls Installation
  Fume Hood Replacement

## Slide 8: Energy Performance Contracting (EPC)
Project Goals
Reduce Utility Consumption Reduce Deferred Maintenance Less Than 20 Year Payback
Laboratory Facilities Project
Chemical & Life Sciences Lab
Roger Adams Lab
Beckman Institute
Illinois Sustainable Technology Center
Natural Resources Studies Annex
Forbes Natural History Building

## Slide 9: U16061 Project Goals
Utility Conservation
Reduction in Deferred Maintenance Backlog
20-year Payback or Less
Schneider Introduction
Selection Process
Contracted for IGA

## Slide 10: Schneider Electric Project Experience
Higher Education Market Project Statistics:
$423M in ESCO work
Over $400M in Guaranteed Savings Portfolio
Over $167M in Achieved Savings to Date

## Slide 11: Current State
Outdated Lab Facilities
Equipment as old as 70 years
Lack of cooling and exhaust capacity
High Cost of Operation
CLSL $8.70/sqft
RAL $7.88/sqft
Deferred Maintenance Backlog
Total Backlog Identified $60M
CLSL $513K Addressed
RAL $23.4M Addressed
High Energy Use
CLSL 418 kBtu/sq ft
RAL 392 kBtu/sqft
Typical XXX kBtu.sqft (get from CBECS)

## Slide 12: Future State
Updated Lab Facilities
Best practices for lab operation
Lab capacity met and expanded
Projected Savings
CLSL $1.1M per Year
RAL $450K per Year
Deferred Maintenance Backlog
$60M
North Matching Funds
Energy Reduction
CLSL XX%
RAL XX%

## Slide 13: Construction Phasing Plan
Execute Scope of Work in Blocks:
3 month look-ahead
Target Blocks of 6-8 Labs If Possible
  Coordinated with Department
Installation Duration of 2-3 Weeks in Each Lab Space
Sensitive Equipment Remaining Will Be Protected
  Coordinated with Department and Faculty
Some Labs May Stay Active During Installation

## Slide 14: RAL North
Current Conditions
Multiple Air-Handlers
  Supply/Exhaust Capacity Issues
  Cooling Capacity Issues
Constant Air Volume
Pneumatic Controls
Antiquated Chillers
Original/Historic Windows
Future Conditions
Dedicated Outside Air (DOA) Units with New Exhaust
Rework Ductwork
Variable Air Volume
University Standard Air Changes (Occupied/Unoccupied)
Lab Air-Valves
Direct Digital Controls (DDC)
Full Tie-In in to Campus Chilled Water
New Windows
Building Weatherization

## Slide 15: RAL North
Construction Expectations
2-3 Week Installation Duration per Lab
Relocate Chemicals
Relocate As Much Lab Equipment as Possible
Ceiling Removal & Installation
Ductwork Removal & Installation
Window Removal & Replacement

## Slide 16: RAL North
Existing
Demo
New

## Slide 17: RAL South
Current Conditions
AHU-S4 Original to Building
  Serves corridors
  Serves office/conference rooms
Pneumatic Controls
High Air-Changes
Future Conditions
New AHU-S4
University Standard Air Changes (Occupied/Unoccupied)
Direct Digital Controls (DDC)
Building Weatherization

## Slide 18: RAL South
Construction Expectations
Corridors and offices shut down until new air-handler online (X weeks)
Most controls work in corridors
New space temperature sensors - Partial day installation
Most Labs Will Stay Active

## Slide 19: RAL South
New Controls

## Slide 20: CLSL Building A
Current Conditions
Centralized Air-handling
Constant Air Volume
High Air Changes
Standard Air Terminals
Pneumatic Controls
Future Conditions
Centralized Air-handling with Modifications to Exhaust
Variable Air Volume
University Standard Air Changes (Occupied/Unoccupied)
Lab Air-Valves
Direct Digital Controls (DDC)
Building Weatherization

## Slide 21: CLSL Building A
Construction Expectations
Shutdown of air-handlers for DDC cutover - 0.5-1 Day
Shutdown of fume hood exhaust for modifications - 0.5-1 Day
2-3 Week Duration per Lab
Relocate Chemicals
Relocate As Much Lab Equipment as Possible
Ceiling Removal & Installation
Ductwork Removal & Installation

## Slide 22: CLSL Building A
Demo
New
Existing

## Slide 23: CLSL Building A Laser Labs
Demo
New

## Slide 24: CLSL Building A Laser Labs
Demo
New

## Slide 25: CLSL Building B&C
Current Conditions
Centralized Air-handling
Constant Air Volume
High Air Changes
Standard Air Terminals
Pneumatic Controls
Future Conditions
Centralized Air-handling with Modifications to Exhaust
Constant Air Volume
University Standard Air Changes (Occupied/Unoccupied)
Direct Digital Controls (DDC)
Building Weatherization
Why not conversion to VAV and new lab air-valves?

## Slide 26: CLSL Building B&C
Construction Expectations
Shutdown of air-handlers for DDC cutover - 0.5-1 Day
Shutdown of fume hood exhaust for modifications - 0.5-1 Day
2-3 Week Duration per Lab Space
Most controls work in Labs
New space temperature sensor installed in each space
Most Labs Will Stay Active

## Slide 27: CLSL Building B&C
New Controls

## Slide 28: Overall Project Benefits
Summary of Benefits
Guaranteed Energy Savings
Reduced Utility Costs
Reduction in Deferred Maintenance Backlog
Less Than 20 Year Payback
Lab Capacity Expansion
Better Control of Building Comfort Issues
Updated Mechanical Systems & Windows

## Slide 29: Communications
Questions & Concerns
All Questions & Concerns Should Be Communicated Through Your Building Representative